## Slide 1
by Nick Mark MD
temporary/external cardiac pacing
onepagericu.com
@nickmmark
Link to the most current version →
ONE
DEFINITIONS:
CC BY-SA 3.0
v1.1 (2020-01-22)
USES:
RATE
80
bpm
10.0
mA
5.5
mV
DDD
VVI
A OUTPUT
V OUTPUT
10.0
SENSITIVITY
SENSE
PACE
MODE
CHAMBER PACED | CHAMBER SENSED | RESPONSE TO SENSING
A - atrial | A - atrial | I - inhibited
V - ventricle | V - ventricle | T - triggered
D - dual | D - dual | D - dual
 | O - none | O - none
Atrial bipolar epicardial pacing wire
TRANSVENOUS pacing wire placed via a subclavian introducer
By convention EPICARDIAL leads to the RV emerge on the LEFT of the sternum, and leads to the RA emerge on the RIGHT
Ventricular unipolar epicardial pacing wire & ground
Lights flash to indicate when SENSING and PACING occur
Unipolar leads have a separate ground wire (more likely to cause diaphragm pacing)
Bipolar leads contain an integrated ground
Sheath allows depth adjustments
External pacer box
mA
· Pacing can be used to support patients with severe BRADYCARDIA or HEART BLOCK leading to hemodynamic compromise. HB or bradycardia may be due to surgery, MI, electrolyte disturbances, toxicities.
· OVERDRIVE PACING is a technique for suppressing arrythmias (such ventricular tachycardia or Torsades de pointes) by selecting a rate faster than the arrythmia to overdrive suppress it then decreasing the rate once the dysrhythmia is suppressed.
MODE | DESCRIPTION | PROs | CONs
VVI | Common mode used via transvenous pacer wire | On demand V pacing; good for backup | Loss of atrial kick Difficult to assess ST segments with V pacing
VOO | Can be used when sensing is not reliable | Resistant to interference | Loss of atrial kick Risk of R on T
DDD | Common mode for pacing via epicardial pacing wires | Maintains atrial kick | Risk of endless loop tachycardia
DOO | Can be used when sensing unreliable | Maintains atrial kick & resistant to interference | Risk of R on T phenomenon
Balloon inflation port
RATE
OUTPUT
SENSITIVITY
determines how often the pacer will fire
determines how much energy is delivered to each pacing lead; threshold is how much energy is required to trigger depolarization
determines how much current must be detected to identify a depolarization
DDO
V V I
Determine THRESHOLD by decreasing OUPUT until capture is lost; set the OUTPUT to twice the THRESHOLD
Set the desired RATE (should be more than the native HR to initiate pacing; typically 80 bpm).
Set the OUTPUT to the maximum energy & confirm mechanical CAPTURE (feel a pulse, look pulseOx/Aline waveform)
Set the MODE to asynchronous (either VOO or DOO)
MODE
Determines which leads are paced and how the pacer responds to native cardiac activity
Change to a sensing MODE (either VVI or DDD)
Adjust SENSITIVITY until the native complexes are detected
Temporarily decrease RATE to be less than the native HR
INITIATING PACING:
Repeat daily
Initiating emergency pacing
Setting the pacer as a backup
· Transvenous & epicardial pacing are temporary methods of supporting brady- & tachydysrhythmias until resolution or definitive treatment (such as a permanent implanted pacemaker) can be implanted.
· External cardiac pacing involves connecting one or more pacing electrodes (called leads) to an external pulse generator (also called an external pacer box).
· Transvenous and epicardial pacing are more reliable and more durable treatments than transcutaneous pacing. (Both are pictured, though would not be used simultaneously.)