## Slide 1
by Nick Mark MD & Jeff Scott DO, MBA
cardiac arrest on mechanical life support
onepagericu.com
@nickmmark
@@Jsemccm
Link to the most current version →
ONE
PURPOSE:
· Patients undergoing mechanical circulatory support (MCS) are at risk for cardiac arrest due to the underlying illness.
· When these patients experience cardiac arrest, resuscitation protocols should be modified to reflect device & clinical context (e.g. recent surgery, anticoagulation, etc)
· Most cases of cardiac arrest following cardiac surgery are reversible.
· CSU-ALS (also called CALS) is an evidence-based approach for resuscitation of postoperative cardiac patients. CSU-ALS is Indicated for inpatients in the immediate post op setting (typically 10 days post-op) & performed by trained personnel at participating institutions
· It is similar to ACLS, but prioritizes treatment of reversible conditions likely to occur in the post cardiac surgery setting:
· For patients in VT/VF attempt defibrillation x3 followed by amiodarone 300 mg
· For bradycardia/asystole: Pace via epicardial wires, then TC/TVP. If refractory, atropine 3 mg.
· For all patients in persistent arrest, perform Re-sternotomy at the bedside
· Consider lower doses of epinephrine (reference) e.g. 50-100 mcg
VA ECMO
VV ECMO
· VV ECMO does NOT provide circulatory support;
· Assess circuit for failure, initiate CPR
· Increase FD02 to 100%
· Increase vent settings (full support)
· Consider adding arterial cannula  VVA configuration
Impella can provide significant circulatory support during arrest, however if there is no evidence of perfusion, should assume that it has become displaced. (examine placement signal waveform).
Approach:
Set Impella to the lowest speed: P2
(as recommended by manufacturer)
Begin CPR
If able to confirm proper Impella placement (e.g. with POCUS) consider increasing flow to provide additional hemodynamic support.
· LVAD patients may be not pulsatile at baseline but still have adequate circulation. Unconsciousness in an LVAD patient may be unrelated to LVAD failure. If the device is functioning without alarms consider alternative causes (hypoxemia, stroke, hypoglycemia, overdose, etc).
Approach to an unconscious LVAD patient:
If signs of adequate perfusion, do not perform CPR.
Examine the controller: determine if LVAD is operating: check controller, battery, driveline integrity & connection, auscultate for hum.
If LVAD is stopped: restart pump.
If the pump is stopped & cannot be restarted, begin CPR (there is a theoretical risk of displacing the device)
It is OK to defibrillate or perform cardioversion
If the pump is operating but signs of inadequate perfusion are present, consider increase RPMs. Obtain TTE
Consider VA-ECMO if inadequate support w/ LVAD
CARDIAC SURGICAL UNIT – ADVANCED LIFE SUPPORT (CSU-ALS):
Modified H&T approach. The most common causes of circulatory arrest in patients with MCS devices include:
Hemorrhage/hypovolemia
Low cardiac output / severe bradycardia
Pericardial Tamponade
Tension pneumothorax
Pulmonary embolism
Mechanical failure of device (see approaches below)
Customize resuscitation based on the MCS device(s) present
Patients with certain MCS (VA-ECMO, LVAD) may be non-pulsatile at baseline (pseudo-PEA). Obtaining a manual BP using a doppler probe can be useful to measure MAP & detect arrest. Signs of adequate perfusion without a pulse:
Initiate ACLS
(most patients)
or
CSU-ALS
(post sternotomy patients)
See ECMO Troubleshooting OnePager
See Impella OnePager
See LVAD OnePager
· MAP > 50 mmHg
· pETCO2 > 20
· Normal breathing
· Normal capillary refill
IDENTIFY/CONFIRM CARDIAC ARREST
CONSIDER REVERSIBLE CAUSES OF ARREST
LEFT VENTRICULAR ASSIST DEVICE
IMPELLA
· VA ECMO does provide circulatory support; do NOT initiate CPR if the ECMO circuit is functioning normally
· Assess for pump or membrane failure
· Increase Pump Speed/Flow
· Increase preload (administer bolus)
Assess Rhythm | VT/VF | Shock x3 | Begin CPR | Amiodarone | Prepare for resternotomy | CPR + Shock | Perform Resternotomy
 | Asystole Bradycardia | Initiate pacing (via wires) |  | TC/TVP pacing Atropine |  | CPR | 
 | PEA | Low dose epi |  |  |  | CPR | 
(Modified from CSU-ALS CALS-S; see their course for details)



v1.0 (2022-11-28) CC BY-SA 3.0
See IABP OnePager
INTRA-AORTIC BALLOON PUMP
· IABP may be combined with VA ECMO as LV vent.
· In cardiac arrest patients with VA ECMO & IABP, the IABP should be switched from EKG to pressure trigger. It should remain in 1:1 with full augmentation.
VA or VVA ECMO
Assess circuit fxn
VV-ECMO
CPR
Increase RPM/flow
Flow present
Flow absent
Add arterial cannula
ECMO
Temporary MCS
Implanted MCS
Correct circuit problems
Notes: LVAD troubleshooting : https://pubmed.ncbi.nlm.nih.gov/34409711/