## Slide 1
tracheostomy emergencies
COMPONENTS OF A TRACHEOSTOMY TUBE:
by Nick Mark MD & Helen D’Couto MD
Pilot balloon indicates if tracheal cuff is inflated
Obturator is inserted into the inner cannula & used to guide placement; must remove to ventilate
Tracheal cuff is a balloon used to seal the tracheostomy tube against the trachea; inflation enables sustained airway pressure but prevents speech & eating.
Outer Cannula stays in tracheostomy; attached to faceplate/flange.
Innominate artery
Thyroid cartilage
Cricoid cartilage
Hyoid bone
onepagericu.com
@nickmmark
@hdcouto23
Link to the most current version →
ONE
v1.0 (2021-07-14) CC BY-SA 3.0
Early (<7-14d)
  • Prepare back-up airway plan
  • Deflate cuff and oxygenate from above
  • Remove inner cannula
  • Attempt to pass suction catheter and clear
  • Consider bronchoscopy if immediately available
  • In unable to clear, intubate from above
Late (>7-14d)
  • Prepare back-up airway plan
  • Deflate cuff and oxygenate from above
  • Remove inner cannula
  • Attempt to pass suction catheter and clear
  • Consider bronchoscopy if immediately available
  • If still obstructed, attempt to replace and may need to downsize tracheostomy tube
Early (<7-14 days)
  • Do NOT attempt re-insertion due to risk of creating a false tract (stoma is not mature)
  • Call for help (e.g. airway code)
  • Oxygenate and ventilate from above while preparing to intubate
  • Intubate
Late (>7-14 days)
  • Prepare back-up airway
  • Oxygenate and ventilate from above
  • Attempt to replace tracheostomy (can insert obturator) and may need to downsize
  • Confirm proper placement, ideally with bronchoscopy
  • If unable to re-insert, intubate.
Preparing for Tracheostomy Contingencies
Have a back-up airway plan prepared in advance.
  • Have a back-up tracheostomy of the same size & one of a smaller size immediately available (e.g. in the room)
  • Know if the patient can be intubated or ventilated from above
  • Know the placement date of the tracheostomy
  (ideally this information should be on a sign at the head of the bed)
Faceplate/flange holds tracheotomy tube against the neck (usually has holes for sutures)
Inner Cannula can be inserted into the outer cannula. Removable. Can be used to clear secretions.
Proper sizing is essential and depends on length, inner diameter, outer diameter, and curvature. Usually the size number refers to the inner diameter (ID) of the outer cannula, measured in mm (e.g. Portex 6.0 has an ID of 6mm). This is not consistent for all manufacturers. The ID and OD sizes are always written on the flange.
Some tubes have an adjustable flange. Other specially made longer tracheostomy tubes may be called XLT (extra long tubes).
TRACHEOSTOMY SIZING:
Inner diameter (ID) is a common system of tube sizing
Proximal XLT tubes can be used with thick neck anatomy or swelling
Distal XLT tubes can be used with tracheal stenosis or tracheomalacia
Epiglottis
There are three categories of emergencies involving a tracheostomy: ACCIDENTAL DECANNULATION, OBSTRUCTION, and BLEEDING. The timing of the emergency is also important as the approach is different in the 7-14 days after initial tracheostomy placement compared with later. (The tracheotomy tract takes time to mature)
APPROACH TO TRACHEOSTOMY EMERGENCIES:
DECANNULATION
OBSTRUCTION
EARLY (<14 days)
LATE (>14 days)
  Early (<7-14d)
  Early bleeding may be at the surgical site, from suction trauma, or due to tracheitis; Consider lower airway bleeding/hemoptysis
  • Tx: Inflate cuff, apply direct pressure, apply topical silver nitrate
  Late (>7-14d)
  Late bleeding may be due to the above or due to development of a Tracheo-innominate fistula: erosion of the tracheostomy causing a fistula between innominate artery & trachea. Look for ETT pulsations
  This can cause life-threatening hemorrhage.
  • Tx: overinflate cuff to tamponade, ventilate from above and remove tracheostomy, Intubate from above, Insert finger into stoma and pull anteriorly to occlude innominate artery. Surgical management of hemorrhage will be required (high mortality w/o surgery)
BLEEDING